PUBLIC-TENDER DOCUMENTATION

IN ACCORDANCE WITH THE LOW-VALUE PROCEDURE

FOR

»SUPPLY OF 48 CsI(Tl) CRYSTALS«

Internal reference number of the public tender: JN22/2019

Ljubljana, June 2019

CONTENTS

- Invitations to tender

- Instructions for the Bidders

- Technical documentation of the public tender

- The bid (Proforma invoice) – FORM 1

- Details about the Bidder – FORM 2

General data about the Bidder and the consortium – FORM 2.1

Acting with Subcontractors or without Subcontractors – FORM 3

The Subcontractor’s authorisation relating to direct payments made by the Contracting Authority to the Subcontractor(s) and consent – FORM 3.1

- Forms for establishing the capacities of a Bidder

- FORM 4.1 – Declaration of compliance with the conditions for the Economic

Operator

- FORM 4.2 – Statement from the Bidder allowing personal information to be

obtained from official records

- FORM 4.3 – Declaration  of compliance with the conditions for the pursuit of a

professional activity

- FORM 4.4 – List of references

- FORM 4.5 – Statement of the reference client

- Sample contract – FORM 5

- INVITATION TO TENDER

The Contracting Authority, the Jožef Stefan Institute, Jamova cesta 39, 1000 Ljubljana, tax number SI55560822, registration number 5051606, bank account: 01100-6030344242 registered with the Public Payment Administration (PPA) Ljubljana, invites interested Bidders to submit their written tender in accordance with this public tender documentation.

The subject of the contract is a »SUPPLY OF 48 CsI(Tl) CRYSTALS«.

The public tender is carried out in accordance with Article 47 of the Public Procurement Act (official consolidated text PPA-3, the Official Gazette of the Republic of Slovenia, Nos. 91/2015 and 14/2018 hereinafter PPA-3) as a low-value public procurement procedure.

We invite you to submit your bid for this tender in accordance with the instructions for bidding.

The bids have to be prepared in line with the tender documentation, fulfilling all the conditions for the participation in this public tender.

| Ljubljana, June 2019 Institut “Jožef Stefan” Ljubljana |  |  |
| --- | --- | --- |

- INSTRUCTIONS FOR THE BIDDERS

  - THE CONTRACTING AUTHORITY

The jožef stefan institute is inviting all interested Bidders to submit their bids in line with the tender documentation.

  - the code and subject of the public tender

Internal reference No.: JN22/2019

Subject: »SUPPLY OF 48 CsI(Tl) CRYSTALS«

  - implementation of the tender

The public tender is carried out on the basis of Article 47 of PPA-3 (Official Gazette of RS, no. 91/2015 and 14/2018) as a low-value public procurement procedure. The Contracting Authority shall select the bid and make a contract with the respective Bidder on the basis of the conditions and criteria described below.

Before the deadline for the submission of tenders, the Contracting Authority may amend the tender documents. The Contracting Authority shall make all the amendments to the tender documentation 5 days before the current deadline at the latest. Any such amendment shall be an integral part of the tender documentation and shall be submitted through the Public-Procurement Portal. If necessary, the Contracting Authority shall extend the deadline for submitting the bids to make it possible for the Bidders to consider the amendments.  In the case of an extended deadline for submitting the bids all the rights and obligations of the Contracting Authority and the Bidders shall relate to the new dates arising from the extended deadline.

  - ACCESS to the tender documentation

The forms from the tender documentation (TD) are available at http://www.ijs.si/ijsw/Objave.

  - the bidding procedure

Any individual or legal entity registered for the service that is the subject of this tender can submit a bid to this tender.

2.6 THE LANGUAGE OF THE BIDS

The Bidders must submit their bids in Slovene or English.

  - PREPARATION OF THE BIDS

To prepare their bids, the Bidders must give all the details required with the attached specification. The bids must be valid until 31st December, 2019.

2.8  A JOINT BID

A bid may be submitted by a group of contractual partners. This group shall submit a Partnership Agreement stipulating how the public contract awarded within this public-procurement procedure will be executed, specifying, in particular, the leading partner authorized to assume, from the Contracting Authority, the obligations, instructions, and possibly also the payments on behalf of, and for the account of, all the partners, as well as the share and type of services/goods to be provided by each individual partner. The Agreement must clearly stipulate that, in relation to the Contracting Authority, all the partners are collectively and individually liable for the realisation of the entire commitment and each part of it, in accordance with paragraph 3 of Article 81 of the PPA-3.

All the partners in a group have to meet the conditions for the recognition of their competencies with respect to their legal statuses (they must meet all the conditions in Section 2.11) and the first point requirement 2.12.1. PROFESSIONAL CAPACITY OF THE BIDDER the compliance with the Contracting Authority's other conditions for the recognition of competencies shall be examined collectively for the entire group of partners.

2.9  A BID INVOLVING SUBCONTRACTORS:

In a subcontracting relationship the main Contractor transfers the execution of the whole or a part of the awarded public contract to a third party, namely, a Subcontractor. The definition of a Subcontractor is given in point 1 of Article 94 of the PPA-3. The Bidder can perform the award of the contract alone or together with Subcontractor(s).

If the tenderer offers the execution of the contract by Subcontractor(s), it is required to:

- provide the list of all the Subcontractors (each Subcontractor must meet all the requirements under point  2.11) and the type of work that the Subcontractor will be undertaking,

- provide the list of contact information and the legal representatives of the Subcontractors,

- complete Declaration of compliance with the conditions for the Economic Operator for each Subcontractor,

- complete FORM 3.1 – The Subcontractor’s authorisation relating to direct payments made by the Contracting Authority to the Subcontractor(s) and consent, if Subcontractor required.

The main Contractor will be required during the realization of the public tender to inform about any changes to the existing information specified in the preceding paragraph and to send information about new Subcontractors, that are planned to be subsequently integrated into carrying out the work no later than 5 days after the change. In the case of the involvement of new Subcontractors the main Contractor must together with the notice provide the information and documents, specified in the second, third and fourth indents of the preceding paragraph and meet all the requirements under point 2.11.

The Contracting Authority will reject any Subcontractor, if there are grounds for exclusion from the first, second or fourth paragraphs of Article 75 of the PPA-3, except in the case of the third paragraph of Article 75 of the PPA-3. The Contracting Authority may reject any Subcontractor, if there are grounds for exclusion from the sixth paragraph of Article 75 of the PPA-3. The Contracting Authority will not accept the proposal to replace the Subcontractor or the inclusion of a new Subcontractor, if this has an impact on the smooth implementation or completion of the works and if the new Subcontractor does not meet the conditions by the Contracting Authority in the tender documentation. In the case of rejection of the new Subcontractor the Contracting Authority will inform the main Contractor no later than 10 days from receipt of the proposal.

In the event that the Subcontractor in accordance with and in such a way specified in the second and third paragraph of Article 94 of the PPA-3 requires direct payment, a direct payment to the Subcontractor shall be deemed to be obligatory in accordance with this Act and bound by an obligation of the Contracting Authority and the main Contractor.

Where the tenderer intends to carry out the contract with a Subcontractor, which requires a direct payment in accordance with this Article:

- the main Contractor in the contract shall authorize the Contracting Authority, on the basis of an approved invoice or situation by the main Contractor to pay directly to the Subcontractor,

- the Subcontractor submits the consent on the basis of which the Contracting Authority instead of the tenderer settles the Subcontractor's claim against the tenderer,

- the main Contractor to its invoice attaches an invoice of a Subcontractor, which was previously approved.

If a direct payment to the Subcontractor is not required, the Contracting Authority of the main Contractor will require that not later than 60 days from the payment of the final invoice the main Contractor sends a written statement and a written statement from the Subcontractor that the Subcontractor has received payment for the supplied goods directly related to the subject of the contract.

If the main contractor does not comply with Article 94 of PPA-3, the Contracting Authority shall submit a proposal to the National Review Commission about the introduction of a minor offence procedure referred to in point 2 of the first paragraph of Article 112 of the PPA-3.

In the event that the tenderer acts with the Subcontractors, the tenderer shall submit the authorization for direct payments (FORM 3.1) or a statement that the bid does NOT act with Subcontractors. In this case the tenderer submits a declaration of the bid without Subcontractors (FORM 3).

2.10  COMPLETION OF THE BID – ADMISSIBLE TENDER:

»Admissible tender« shall mean a tender that is submitted by a tenderer for which there are no grounds for exclusion and which meets the selection criteria, which meets the needs and requirements of the Contracting Authority set out in the technical specifications and the procurement documents, which was received in due time, for which there is no evidence of collusion or corruption, which has not been found by the Contracting Authority to be abnormally low, and the price does not exceed the Contracting Authority’s budget.

Tender documentation must consist of the forms submitted in the following order:

  - FORM 1 – The bid (Proforma invoice)

  - FORM 2 – Details about the Bidder

  - FORM 3 – Acting with Subcontractors or without Subcontractors

  - forms for establishing the capacities of the Bidder – FORMS 4.1 to 4.5 together with the attached proofs of fulfilling the conditions

  - the completed, signed and stamped sample contract initialled on each page – FORM 5

Only when acting as consortium and/or with Subcontractors the Bidder has to submit the following forms:

  - FORM 1 – The bid (Proforma invoice)

  - FORM 2.1 – General data about the Bidder and the consortium

  - Partnership Agreement (only in the case the Bidder acts as a party in a joint venture or a consortium of the Bidders)

  - FORM 3 – Acting with or without Subcontractors

  - FORM 3.1 – The Subcontractor’s authorisation relating to direct payments made by the Contracting Authority to the Subcontractor(s) and consent

  - forms for establishing the capacities of the Bidder – FORMS 4.1 to 4.5 together with the attached proofs of fulfilling the conditions

  - FORM 5 – the completed, signed and stamped sample contract initialled on each page.

In line with the 6th paragraph of Article 14 of the Integrity and Prevention of Corruption Act (the Official Gazette of the Republic of Slovenia, Nos. 45/10, 26/11 and 43/11; ZIntPK), the selected bidder is obliged to submit, prior to signing the contract and at the request of the Jožef Stefan Institute, the awarding authority, a statement or details about the natural or legal entities owned by the selected bidder, including the silent partners and business entities that are considered to be associated with the selected bidder in line with the provisions of the law governing companies. If the bidder submits a false statement or gives untrue information about the required details, the contract shall be annulled.

In line with point 6 of Article 91 of PPA-3, the selected Bidder shall submit, within 8 days of the receipt of the request, the details about:

- its founders, partners, including silent partners, shareholders, limited partnerships or other owners, as well as the equity shares of these entities;

- business entities that are considered to be associated with the selected Bidder on the basis of the law governing companies.

The tenderer submitting the offer accepts criminal and material responsibility that all data and documents included in the tender are true. Otherwise, the tenderer shall be liable to the Contracting Authority for any damage caused to it.

2.11  GROUNDS FOR EXCLUSION OF THE BID

| 1. | The Economic Operator must be excluded by the Contracting Authority from participation in a public procurement procedure in the case it is found that the Economic Operator itself or any person who is a member of its administrative, management or supervisory body or has powers of representation, decision or control therein has been the subject of a conviction by final judgment which has the elements of the criminal offenses that are defined in the first paragraph of Article 75 of the PPA-3. In the case that the Economic Operator is in the situation referred to in the above paragraph, in accordance with paragraph 9 of Article 75 of the PPA-3, the Contracting Authority may submit evidence that it has taken sufficient measures to prove its reliability despite the existence of reasons for exclusion. The proof: FORM 4.1 – Completed Declaration of compliance with the conditions for the Economic Operator for all Economic Operators in a procedure (also for potential Subcontractors and/or partners from a joint bid) Prior to signing the contract the Contracting Authority shall ask the selected Bidder to submit the authorization to obtain the information from the criminal record (for the Economic Operator and for all persons who are members of the administrative, managerial or supervisory body of the Economic Operator or who the power to represent or to decide or control it). The Bidder himself can attach the certificates from the criminal record. The certificates thus submitted must be legally relevant with respect to the conditions on the day of submitting the bid. |
| --- | --- |
| 2. | The Economic Operator must be excluded by the Contracting Authority from participation in a public procurement procedure in the case that it does not fulfil the obligations related to taxes and other monetary non-fiscal obligations pursuant to the law regulating the financial administration, collected by the tax authority in line with the provisions of the country in which it has its our registered office or in the Member State of the Contracting Authority and have no outstanding liabilities as on the day of submitting the bid worth EUR 50 or more. On the day of submitting the bid, the Economic Operator must submit all accounts of tax deductions for the incomes arising from employment relationships for the period of the last 5 years. The proof: FORM 4.1 – Completed Declaration of compliance with the conditions for the Economic Operator for all Economic Operators in the procedure (also for potential Subcontractors and/or partners from a joint bid). |
| 3. | The Economic Operator must be excluded by the Contracting Authority from participation in a public procurement procedure in the case it is on the deadline for the submission of bids excluded from the public award procedures due to being included in the record of entities with negative references, as defined in point a) of the fourth paragraph of Article 75 of the PPA-3. The proof: FORM 4.1 – Completed Declaration of compliance with the conditions for the Economic Operator for all Economic Operators in the procedure (also for potential Subcontractors and/or partners from a joint bid). |
| 4. | The Economic Operator must be excluded by the Contracting Authority from participating in a public procurement procedure it has been in the 3 years prior to the expiry of the deadline for submitting the bids fined twice for an offence related to the payment for work, working hours, on rest, on the performance of work on the basis of civil law contracts, despite the existence of elements of an employment relationship or in connection with the employment of illegal workers by way of a final decision of the competent authority of the Republic of Slovenia or another Member State or a third country. The proof: FORM 4.1 – Completed Declaration of compliance with the conditions for the Economic Operator for all Economic Operators in the procedure (also for potential Subcontractors and/or partners from a joint bid). |

The Contracting Authority shall in accordance with the eight paragraph of Article 75 of the PPA-3 at any time during the procedure exclude an Economic Operator where it transpires that, in view of acts committed or omitted, the latter was or is either before or during the procedure in one of the situations referred to this instruction.

2.12   CONDITIONS FOR PARTICIPATION

2.12.1. PROFESSIONAL CAPACITY OF THE BIDDER

| 1. | The Bidder is for the occupation that it takes in the tender registered in one of the professional or trade registers, that are kept in the Member State in which the Economic Operator is established. The list of professional or business registers in the Member States of the European Union is published in Annex XI of Directive 2014/24 / EU. The proof: FORM 4.3 – Completed Declaration of compliance with the conditions for the pursuit of a professional activity. The Contracting Authority reserves the right to verify the existence and content of the tender in the case of doubt about the validity of the tenderer's statements. For this purpose, the declaration must contain all the necessary information in order for the Contracting Authority to verify the compliance with the condition in question in the official records. In the event that such a verification is not possible, the Contracting Authority shall require the Economic Operator to submit a copy of the entry in one of the professional or business registers. |
| --- | --- |

2.12.2. TECHNICAL CAPACITY OF THE BIDDER

| 1. | The Bidder has is the past 3 years (2016, 2017, 2018) made sales of CsI(Tl) CRYSTALS (which means qualitative and quantitative in according with the contract). The proof: FORM 4.4 – Completed »List of references« FORM 4.5 – Completed confirmation of the business partners (reference clients) on the original form |
| --- | --- |

In all cases one copy of proof is sufficient, even when a particular proof is mentioned several times.

With respect to all the above documents, which can be submitted as photocopies, the Contracting Authority can, at a later stage, request the original copies that the Bidder has to submit for viewing to the Contracting Authority in a period of 3 days. Irrespective of the required age of the documents, they have to disclose the status of the Bidder that is legally relevant with respect to the conditions on the day of submitting the bid.

The Contracting Authority shall obtain the data from the official records by itself and on the basis of the received consent of the Bidder. The Contracting Authority can also consider the data from the official records that the Bidder obtained or submitted during other public-tender procedures if these records are not older than 4 months.

If the country where the Bidder is established cannot issue the proofs, or documents, required by the tender documentation, the Bidder can, in line with Article 42 of PPA-3, submit an appropriate sworn statement given by the Bidder or by a witness in the presence of a judicial or administrative authority, a notary, or an authorised body representing the commercial entities in the Bidder’s country.

2.13 THE BIDDING PRICE

All the prices have to be expressed in euros, covering all the costs for the realization of the relevant public contract. The final price has to include all its constituent elements. The VAT has to be indicated separately (for the Bidders from Slovenia).

2.14  EXAMINATION AND EVALUATION OF THE BIDS:

Before awarding the contract, the Contracting Authority will verify the existence and content of the data or other information indicated in the tender of the tenderer to which it has decided to award the contract. The Contracting Authority will perform an examination and evaluation in line with Article 89 of the PPA-3.

2.15  CRITERIA FOR ASSESSING AND EVALUATING THE BIDS:

The Contracting Authority will award the contract based on the most economically advantageous tender. Timely submitted bids will be assessed in accordance with the criteria specified below.

| No. | Criterion | No. of points |
| --- | --- | --- |
| 1 | The bidding price: A = average price of all the bids that meet the requirements. The prices are assessed on the basis of their deviation from A | A ± 5% | 100 |
|  |  | more than 5% to 10% | 90 |
|  |  | more than 10% to 15% | 80 |
|  |  | more than 15% | 70 |
|  |  | less than -5% to -10% | 110 |
|  |  | less than -10% to -15% | 120 |
|  |  | less than -15% | 130 |
| 2 | Delivery time for first set in months | 1 months or less | 100 |
|  |  | More than 1 month to 3 months | 30 |
|  |  | More than 3 months | 0 |
| 3 | The number of references (supplies) for similar projects in past three years. 1 reference is supply of crystals in a value of minimum 15.000,00 EUR excluded VAT to one buyer. | Every extra reference (maximum of 5 references) | 10 |

The Bidder obtaining the most points out of 280 possible points shall be asked to realize its bid.

## example of bids with equal to the best results:

In the event that two or more Bidders after the evaluation received the same number of points, the Contracting Authority will select the one which will get more points at delivery date criterion.

If they are after that two offers tied, the offer with a lower contract price will be selected.

2.16  QUERIES RELATING TO THE TENDER DOCUMENTATION

Communication with the Bidders concerning the queries about the tender and the preparation of a bid shall be organised through the Public-Procurement Portal of the Official Gazette of the Republic of Slovenia: www.enarocanje.si.

Information provided by the Contracting Authority or through the procurement portal shall be, in accordance with the paragraph 2 of Article 67 of PPA-3 understood as an amendment, supplement or clarification regarding the award of the contract, if the content of this additional information results in changing this documentation, or if the explanation eliminates the ambiguity of the statements in this document or the public announcement.

2.17 DEADLINES FOR ANSWERING THE QUERIES ABOUT THE TENDER DOCUMENTATION

Queries about the tender documentation or any other query about the call for tender placed through the Public-Procurement Portal by 10:00 on 11.7.2019 shall be considered as timely. After this time, the Contracting Authority shall nor answer any queries about the tender.

2.18  SUBMISSION AND DELIVERY OF THE BID:

Bidders must submit their bids through the IT ePonudbe.si system at the web address http://eponudbe.si/en .

Before submitting their bids, Bidders must register at the web address http://eponudbe.si/. If the Bidder is already registered in the IT ePonudbe.si, they must sign in at the same address.

A user, that is in the ePonudbe.si information system and authorised to submit tenders for an Economic Operator, submits a tender by clicking the »Submit tender« button. The ePonudbe.si information system records the identity and the time of the submission of the tender. The user by submitting the tender expresses and states his will to submit a binding tender in the name of the Economic Operator (Article 18 of the Obligations Code, Official Gazette of the Republic of Slovenia, no. 97/07 – uradno prečiščeno besedilo, 64/16 – odl. US and 20/18 – OROZ631). With its submission, the tender is binding for the time stated in the tender except if the user withdraws or changes it before the time for submitting the tenders has expired.

A bid is deemed to be submitted on time if the Contracting Authority receives it via the ePonudbe.si system http://eponudbe.si/en  by 19.7.2019 at 10.00 AM. A bid is deemed submitted if it is marked with the status »SUBMITTED« (»ODDANO«) in the IT ePonudbe.si system.

Bidders may withdraw or change their bids by the deadline for submission of the bids. Withdrawal of the bid can be performed on the ePonudbe.si system in the profile of the Bidder that has submitted the bid to the system, when the bid is submitted, with the optional statement about the reason for the withdrawal, the change of the bid is performed within the same system first by withdrawal of already submitted bid, and afterwards with submission of a new bid before expiry of the deadline.

It is not possible to submit any bid after the expiry of the deadline for the submission of bids.

The page for submitting an e-bid in this e-procurement procedure can be accessed here:

https://eponudbe.si/en/Public-contracts/Current/Individual-tender/t/NABAVA-48-KRISTALOV-CSITL/n/8f46f1a7abf78493ca552e7afb1e64fb .

2.19 THE PUBLIC OPENING OF THE BIDS

Bids shall be opened automatically in the IT ePonudbe.si system on  19.7.2019 and will start at 10.01 AM at the web address http://eponudbe.si/en.

The opening takes place in the following way: at the hour set for the public opening of bids, the IT ePonudbe.si system automatically displays data on the Bidder and variants, if requested or allowed, and enables access to the PDF file that the Bidder uploaded in the ePonudbe.si system under the »Proforma Invoice« (»Predračun«) section. The public display automatically ends after 60 minutes. The Bidders that submitted bids have these data available in the IT ePonudbe.si system under the »Minutes on the bid opening« (»Zapisnik o odpiranju ponudb«) section.

# 2.20  form »bid (Proforma invoice)«

The Bidder must offer all the listed items from the Form 1 – Bid (Proforma invoice), considering the technical description and the specification of the equipment, which is part of the Tender Documentation.

The Bidder completes all the listed items in the Proforma invoice, to a maximum of two decimal places.

If the Bidder declares a price of zero (0), it is understood this item is offered free of charge.

The Bidder must not change the content of Form 1.

The price must include all discounts and costs.

Where the Contracting Authority, during the examination and evaluation of tenders, finds that a calculation error has occurred, it may correct it in line with Article 89, paragraph 7, of the PPA-3.

The Bidder uploads in the IT ePonudbe.si system under the section »Pro-forma Invoice« (»Predračun«) in a .pdf file the Proforma Invoice.

Bidder must also submit other documents (requested in point 2.10 of this Instruction for the Bidders).

Bidder must scan all the bid documents and submit them in the PDF form in their e-bid.  Before that, the forms, where requested, must be completed, signed and stamped.

2.21 VALIDITY OF THE BID

The bid has to be valid until 31st December 2019.

Variants are not permitted.

2.22 SIGNING OF THE CONTRACT

In line with the 6th paragraph of Article 14 of the Integrity and Prevention of Corruption Act (the Official Gazette of the Republic of Slovenia, Nos. 45/10, 26/11 and 43/11; ZIntPK), the selected Bidder is obliged to submit, prior to signing the contract and at the request of the Jožef Stefan Institute, the awarding authority, a statement or details about the natural or legal entities owned by the selected Bidder, including the silent partners and business entities that are considered to be associated with the selected Bidder in line with the provisions of the law governing companies. If the Bidder submits a false statement or gives untrue information about the required details, the contract shall be annulled.

The selected Bidder shall sign the contract within 8 working days of the receipt of the contract signed by the Contracting Authority.

Prior to signing, the contract shall be modified depending on whether the selected Bidder submits a joint bid, a bid with Subcontractors, a bid consisting of different realization phases and the like.

2.23 legal instruction:

A review claim referring to the contents of the call and/or the tender documentation, may be filed in 10 working days from the date of publication of the call for tender or the notice of supplementary information, information on the pending procedure or correction if this is a notice to amend or supplement requirements or criteria for selecting the most advantageous tenderer from the tender documentation or previously published contract notice; the review claim may refer to the amended, supplemented or clarified content of the publication or the tender documentation or a directly related reference to it in the original publication or tender documentation. A review claim may not be submitted after the deadline for submission of the bid, unless the deadline submission of the bid is less than 10 working days. In this case, a review claim may be filed within 10 working days of the date of publication of the contract notice.

The applicant shall pay a tax of 2.000,00 euros to the bank account of the Ministry of Finance, No. SI56 0110 0100 0358 802, opened at the Bank of Slovenia, Slovenska 35, 1505 Ljubljana, Slovenia, SWIFT CODE: BS LJ SI 2X; IBAN: SI56011001000358802 – a tax for a revision of public procurement.

A review claim shall be filed in writing directly to INSTITUT »JOŽEF STEFAN«., Jamova cesta 39, 1000 Ljubljana or sent by post as registered mail with an acknowledgement of receipt.

3. TECHNICAL DESCRIPTION AND SPECIFICATIONS OF THE EQUIPMENT

The subject of public tender is supply of the CsI(Tl) crystals, that will be used in the detector CALIFA at the FAIR facility.

TECHNICAL SPECIFICATIONS – Conditions and Requirements

1. Dimensions and Number of Crystals

This invitation to tender comprises 48 CsI(Tl) crystals divided into 6 different crystal geometries:

- 4 crystals with the denotation 3129.16.000.1221C

- 4 crystals with the denotation 3129.16.000.1222C

- 4 crystals with the denotation 3129.16.000.1223C

- 4 crystals with the denotation 3129.16.000.1224C

- 16 crystals with the denotation 3129.16.000.1233C

- 16 crystals with the denotation 3129.16.000.1234C

The dimensions and their tolerances for the crystals of each geometry are given in the attached drawings. The crystals can be described as asymmetrical truncated pyramids defined by four facets along the major axis of the crystal and by two end surfaces. The ideal envelope of the crystal along its major axis is defined by the four facets.

A crystal should not be larger than the ideal envelope at any point and the overall planar envelope of a crystal should not deviate more than -100 µm from the ideal planes. The overall planar envelope should thus be inside the ideal envelope by at most 100 µm on any side as measured from the corresponding ideal surface.

The surface tolerance is given as -150 µm, indicating that the crystal surface should not at any point deviate more than -150 µm from the ideal envelope while maintaining the criterion for the overall envelope given above.

If production is significantly simplified and/or the price would be reduced by relaxing the tolerance given for the length of the crystals the tenderer should inform about this and suggest another tolerance for this specific distance. If such a change can be accepted will be determined by the buyer.

2. Physical Quality

The following inclusions are allowed in the scintillator material for the crystals:

- Size up to 0.3 mm – not specified

- Size 0.3 – 0.7 mm – 6 pcs

- Size 0.7 – 0.9 mm – 2 pcs

- Size > 0.9 mm       – not allowed

All crystals shall be examined for inclusions holding them against a white reflecting surface.

3. Thallium Concentration

The Tl activator concentration should be in the range 0.06 – 0.12% by weight.

4. Reference Crystals

A reference crystal shall be made from each boule that is used for the project in order to obtain similar absolute light output and resolution for all crystals independent of their geometry and the material used. The reference crystal shall be cylindrical and have a diameter of 25 mm and a length of 25 mm. It shall be cut from the same position of each boule used.

The Hamamatsu R1306, 2 inch, PM tube should be used for the measurements on the reference crystal and be coupled to the crystal with a coupler of the manufacturer’s choice.

The light output of the reference crystal shall be measured by irradiating the full front (circular) surface of the crystal with a standard 137Cs point source using the 662 keV γ-ray line. The recorded centroid of the photo peak shall be noted in the measurement protocol. The resolution, in per cent, as given by the ratio of the FWHM of the photo peak to the centroid of the photo peak shall be measured and given in the protocol together with information about the measurement conditions.

If more than one boule is used for the manufacturing and thus more than one reference crystal has to be made then measurements of the light output shall be performed under identical conditions for all reference crystals and the result should not vary more than 15%. This does not imply that crystals made from an exceptionally good boule giving higher light output than considered normal, based on the manufacturer’s experience, should be rejected without further consideration.

5. Crystal Light Output Uniformity

The light output uniformity shall be measured along the crystal length for each crystal using the setup described in section 9.

The first measurement point should be 10 mm from the output surface with consecutive points following at 20 mm distance, and with the last point no closer than 10 mm from the other end surface of the crystal. The measurement shall be made with the 137Cs source positioned perpendicularly to the main axis of the crystal, above one of the thin long facets and by moving the source at the central line of this facet along the crystal length. The light output is determined by the centroid of the photo peak as discussed above.

The light output non-uniformity measured in this manner shall not exceed 5% while aiming is at a target value that should be 3% or better.  The requirement is defined using the light output non-uniformity, ΔLO, as given by:

ΔLO = (LOmax –LOmin)/LOaverage < 5%

Where LOmax and LOmin are the maximum and minimum values of the light output measured along the crystal. LOaverage is the average of these two values.

The resolution, in per cent, as given by the ratio of the FWHM of the photo peak to the centroid of the photo peak shall also be measured at each point along the crystal as described above.

The light output and the resolution measurements shall be recorded in the measurement protocol for each measurement point.

6. Variation in Total Light Output

The variation in total light output between any two crystals of the same geometry should not be larger than 15%.

This variation is determined by the centroid of the photo peak for the measurement point at 10 mm from the front end surface of each crystal as described in sections 5 and 9.

7. Resolution

The resolution shall also be measured by irradiating the full front surface of each crystal, using the 662 keV γ-ray from a standard 137Cs source.

This resolution, measured in per cent as described above, should be better than 7.5% at 662 keV for a measurement using LAAPDs as described in section 9 or it should be better than 9.0% if measured using PM tube as described in section 9. The results shall be given in the measurement protocol.

8. Lapping of Crystals

Individual lapping shall be applied to one or several facets of the crystals, except the output facet, if needed to reach the required light output uniformity. These facets may therefore be polished, matted or treated by combinations of these methods. The output surface shall be polished.

The manufacturer should work closely with experts of the CALIFA collaboration in order to optimize performance before the bulk of the detectors are made.

9. Test Setup

All measurements described here and in the above shall be documented and a measurement protocol, in the format described in previous sections, must be included in the delivery for each crystal. The tests shall, in the normal manner, be performed in a dark environment and at room temperature.

As stated in the above the light output is given by the position of the centroid of the photo peak for the 662 keV γ-ray. The resolution is given as the ratio in per cent of the FWHM of this photo peak to the position of its centroid. An energy calibrated spectrum shall be used to extract all centroids and the respective FWHM.

All measurements in section 5 shall be performed using a collimated 137Cs source using the γ-ray line at 662 keV. The collimator shall be designed according to Figure 1 from the attached file Test_setup.jpg. The crystals shall be wrapped on all open surfaces with VM2000 foil. The tests are to be performed in a dark environment. The crystal surface closest to the collimator should be parallel to the collimator surface.

The maximum beam spot for any test described in section 5, shall be 15 mm in diameter which corresponds to a maximum distance of ca 95 mm between the source and the surface of the crystal for an ideal point source.

The crystals shall be wrapped with VM2000 foil during tests. The foil(s) will be provided by the customer and may be pre-folded to fit the crystal geometries. If tests are performed with PM tube the crystals shall be delivered to the customer without reflective foil (pre-folded foil pocket removed) if not otherwise agreed.

The Hamamatsu R1306, 2 inch, PM tube should be used for all tests with PM tube readout. For these tests the coupler should be a Saint Gobain Si PAD of 0.8 mm thickness as provided by the customer.

If mutually agreed an option to test with Large Area APD (LAAPD) is also possible. In this case the parts of the output surface not covered by the readout device shall be covered by reflective VM2000 foil. The LAAPDs and foil(s) will be provided by the customer as well as information (data sheets) concerning the operation of the LAAPDs (voltage and temperature etc.) as needed. The LAAPDs should be coupled to the output surface using the Dow Corning DC93-500 silicon resin if not otherwise agreed.

FORM 1

5. BID  (PROFORMA INVOICE)

Details about the Bidder:

| Name: |  |
| --- | --- |
| Address: |  |
| VAT identification number: |  |
| Bank account and the name of the bank: |  |  |  |
| Contact person: |  |
| Contact person's E-mail address: |  |
| Person responsible for signing the contract: podpis pogodbe: |  |

JOŽEF STEFAN INSTITUTE

Jamova cesta 39

1000 Ljubljana

| BID No. Place: Date: |
| --- |
| On the basis of the invitation to tender No. we are pleased to submit the following bid: |
| Type of purchasing: |  | Service | x | Material |  | Equipment |  | Construction |

| No. | Description of the goods | Quantity | Price/ | Discount % | Value |
| --- | --- | --- | --- | --- | --- |
| 1 | crystals with the denotation 3129.16.000.1221C | 4 |  |  |  |
| 2 | crystals with the denotation 3129.16.000.1222C | 4 |  |  |  |
| 3 | crystals with the denotation 3129.16.000.1223C | 4 |  |  |  |
| 4 | crystals with the denotation 3129.16.000.1224C | 4 |  |  |  |
| 5 | crystals with the denotation 3129.16.000.1233C | 16 |  |  |  |
| 6 | crystals with the denotation 3129.16.000.1234C | 16 |  |  |  |

|  |  |  | TOTAL |  |
| --- | --- | --- | --- | --- |
|  |  |  | DISCOUNT |  |
|  |  |  | VALUE without VAT (EUR) |  |

| Delivery time (in weeks): |  |
| --- | --- |
| Payment terms (30% prepayment, 70% 30 days net): |  |
| Delivery term: DAP Ljubljana (price includes delivery) the client's address) |  |
| Validity of the bid: | 31st December 2019 |

MANDATORY ENCLOSURE:

The supplier’s Offer/Quotation with delivery times and technical specifications (please, enclose it to the second part of the tender documentation).

|  |  | The Bidder: |
| --- | --- | --- |
|  |  | (signature of the representative) (name and surname) |

FORM  2

4. DETAILS ABOUT THE BIDDER

Details about the Bidder:

| Name of the Bidder: |  |
| --- | --- |
| Address of the Bidder: |  |
| Legal representative of the Bidder: |  |
| Contact person: |  |
| E-mail of the contact person: |  |
| Telephone number: |  |
| Fax number: |  |
| Website: |  |
| VAT identification number: |  |
| Bank account and the name of the bank: |  |
| Person responsible for signing the contract: |  |

On the basis of a public tender »SUPPLY OF 48 CsI(Tl) CRYSTALS« published on the Public Procurement Portal on 02.07.2019, under publication number JN004613/2019-W01, we are applying to your invitation to tender and enclose our offer documents in accordance with the Instructions for the Bidders.

|  |  | The Bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

The Contracting Authority’s note: Form must be completed and attached to the bid, if you submit bid individually.

FORM 2.1

GENERAL DATA ABOUT THE BIDDER AND THE CONSORTIUM

Details about the group leader in a joint bid:

| Name of the Bidder: |  |
| --- | --- |
| Address of the Bidder: |  |
| Legal representative of the Bidder: |  |
| Contact person: |  |
| E-mail of the contact person: |  |
| Telephone number: |  |
| Fax number: |  |
| Website: |  |
| VAT identification number: |  |
| Bank account and the name of the bank: |  |
| Person responsible for signing the contract: |  |

On the basis of a public tender »SUPPLY OF 48 CsI(Tl) CRYSTALS« published on the Public Procurement Portal, on 02.07.2019, under publication number JN004613/2019-W01, we are applying to your invitation to tender and enclose our offer documents in accordance with the Instructions for the Bidders.

Contract partners in a joint bid and description of work:

| No. | Name of the partner | Description of the work | Value | Share in % |
| --- | --- | --- | --- | --- |
| The group leader in a joint bid |  |  |  |  |
| Contract partner in a joint bid |  |  |  |  |
| Contract partner in a joint bid |  |  |  |  |
| Contract partner in a joint bid |  |  |  |  |
| Contract partner in a joint bid |  |  |  |  |

|  |  | The Bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

The Contracting Authority’s note: Form must be completed and attached to the bid, only if you submit joint bid as

a consortium.

FORM 3

ACTING WITH OR WITHOUT SUBCONTRACTORS

Acting as a Bidder, we are submitting the bid:

|  | a) individually, without Subcontractors |
| --- | --- |
|  | b) with the following Subcontractors: |

| No. | Subcontractors |
| --- | --- |
| 1. |  |
| 2. |  |
| 3. |  |
| 4. |  |
| 5. |  |

The Bidder shall complete the table »Part of the execution of the contract, which will be performed by a Subcontractor« for each Subcontractor as many times as different parts of the execution of the contract will be taken by each Subcontractor.

Part of the execution of the contract that will be performed by a Subcontractor:

| Subcontractor |  |
| --- | --- |
| Description of work |  |
| Quantity |  |
| Value |  |
| Place |  |
| Time of completion |  |

|  |  | The Bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

The Contracting Authority’s note: Form must be completed and attached to the bid, regardless of whether

you submit the bid individually a joint bid with Subcontractors

FORM  3.1

THE SUBCONTRACTOR’S AUTHORISATION RELATING TO DIRECT

PAYMENTS MADE BY THE CONTRACTING AUTHORITY TO THE

SUBCONTRACTOR(S) AND CONSENT

| Name of the Subcontractor: |  |
| --- | --- |
| Address of the Subcontractor: |  |
| MunicipalIty of the Subcontractor: |  |
| Legal representative of the Subcontractor: |  |
| VAT identification number: |  |

In accordance with paragraph 5 of Article 94 of PPA-3 we declare (tick):

YES, we authorise the Contracting Authority to make direct payments;

NO, we do not require direct payments by the Contracting Authority

Subcontractors who authorize the Contracting Authority to make direct payments and above tick YES, by signing this statement give consent to the Contracting Authority to pay the Subcontractors' claims against the Bidder.

If the Bidder will carry out the contract with Subcontractors, it must provide the list of all Subcontractors and type of work that the Subcontractors will be undertaking, contact information and legal representatives of Subcontractors and complete a Declaration of compliance with the conditions (FORM 4.1) of Subcontractors in accordance with 79. Article of PPA-3 and accompanied by a request for direct payment of the Subcontractor if requested by the Subcontractor.

|  |  | The Subcontractor: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

The Contracting Authority’s note: Form must be completed and attached to the bid, for each Subcontractor.

The Bidder, who does not act with Subcontractors, does not need to submit this form.

6. FORMS FOR ESTABLISHING THE CAPACITIES OF A BIDDER

- FORM 4.1 – Declaration of compliance with the conditions for the economic

operator

- FORM 4.2 – Statement of the Bidder for obtaining personal information from

Official records

- FORM 4.3 – Declaration  of compliance with the conditions for the pursuit of a

professional activity

- FORM 4.4 – List of references

- FORM 4.5 – Statement of the reference client

FORM  4.1

DECLARATION OF COMPLIANCE WITH THE CONDITIONS FOR THE ECONOMIC OPERATOR

(individual Bidder, contract partner in a joint bid, Subcontractor, entity whose capacity the Bidder intends to use)

| Name of the Bidder: |  |
| --- | --- |
| Address of the Bidder: |  |
| Municipality of the Bidder: |  |
| VAT identification number: |  |

We make all the statements listed below under criminal and material liability:

- The Economic Operator or any individual person, who is a member of its administrative,  management or supervisory body of the said Economic Operator, or is authorised to represent it, decide on its behalf or supervise it, has not been issued a final judgement with the elements of the following criminal offences, as indicated in the first paragraph of Article 75 of the Public Procurement Act (the Official Gazette of the Republic of Slovenia, Nos.91/2015; hereinafter PPA-3)

- We meet the obligations related to taxes and other monetary non-fiscal obligations pursuant to the law regulating of the financial administration, collected by the tax authority in line with the provisions of the country in which we have our registered office or in Member State of the Contracting Authority and we have no outstanding liabilities as at the day of submitting the bid worth EUR 50 or more. As at the day of submitting the bid, we have obtained all accounts of tax deductions for the incomes arising from employment relationships for the period of the last five years.

- On the deadline for the submission of bids we are not excluded from the public award procedures due to being included in the record of entities with negative references, as defined in Article 110 of the PPA-3.

- In the last three years prior to the expiry of the deadline for submitting the bids, we have not been fined twice for an offence related to the payment for work, about working hours, on rest, on the performance of work on the basis of civil law contracts, despite the existence of elements of an employment relationship or in connection with the employment of illegal workers with a final decision of the competent authority of the Republic of Slovenia or another Member State or a third country.

and are giving the following

CONSENT

The undersigned agrees that the Jožef Stefan Institute may, as part of the awarding procedure, obtain the data from the official records needed for checking the fulfilment of the requirements from the tender documentation relating to the »SUPPLY OF 48 CsI(Tl) CRYSTALS«.

|  |  | The Bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

FORM 4.2

STATEMENT OF THE BIDDER FOR OBTAINING

PERSONAL INFORMATION FROM OFFICIAL RECORDS

| Name of the Bidder: |  |
| --- | --- |
| Address of the Bidder: |  |
| Municipality of the Bidder: |  |
| VAT identification number: |  |

We hereby authorise the JOŽEF STEFAN INSTITUTE, Jamova cesta 39, 1000 Ljubljana to obtain a statement from the Ministry of Justice relating to the criminal-record data on natural persons for the purpose of checking the fulfilment of the requirements of the public tender for the »SUPPLY OF 48 CsI(Tl) CRYSTALS«, published on the Public Procurement Portal, on 02.07.2019, under publication number JN004613/2019-W01  for all natural persons, authorized as legal representatives:

a)

| Name and surname: |  |
| --- | --- |
| Date of birth: |  |
| Place of birth: |  |
| Municipality of birth: |  |
| Country of birth: |  |
| Permanent/temporary address: |  |
| Signature |  |

b)

| Name and surname: |  |
| --- | --- |
| Date of birth: |  |
| Place of birth: |  |
| Municipality of birth: |  |
| Country of birth: |  |
| Permanent/temporary address: |  |
| Signature |  |

Under criminal and material accountability, we declare that the above information is true and correct. If the Contracting Authority has reasonable suspicion, that the Bidder, irrespectively of the classification of its bid, submitted false declarations or documents, the Contracting Authority will submit to the National Review Commission a proposal for infringement proceedings from 112 Article of the PPA-3

This statement is an integral part of, and an annex to, the Bidder’s application relating to the public tender published on the Public Procurement Portal.

|  |  | The Bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

FORM 4.3

DECLARATION  OF COMPLIANCE WITH THE CONDITIONS

FOR THE PURSUIT OF A PROFESSIONAL ACTIVITY

| Name of the Bidder: |  |
| --- | --- |
| Address of the Bidder: |  |
| Municipality of the Bidder: |  |
| VAT identification number: |  |

The Bidder is for the occupation that it takes in the tender registered in one of the professional or trade registers, that are kept in the Member State in which the Economic Operator is established.

We make all the statements listed below under criminal and material liability:

- we are registered in one of the professional or trade registers (tick with X and complete):

the professional  registers (register name:      )

the trade registers (register name:      ),

that are kept in the Member State in which we are established.

- we have a valid registration and all the necessary licences issued by the competent authorities for performing the activity that is the subject matter hereof       OR we are member of the organisation:      .

|  |  | The Bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

FORM 4.4

LIST OF REFERENCES

Acting as a Bidder, we hereby declare that, for the past 3 years (2016, 2017, 2018), we have sold to one buyer at least 1 crystal in a minimum amount of 15.000,00 EUR, excluded VAT:

| Client, the client's contact person responsible for additional information, the relevant e-mail contact and phone number | Subject of the contract | Value of the goods (in euros without VAT) | Year (date of signing of the contract) |
| --- | --- | --- | --- |

*Appendix: Confirmation of the above references with FORM 4.5 – Statement of the Reference Client

This statement is an integral part of, and an annex to, the application to the public tender for the »SUPPLY OF 48 CsI(Tl) CRYSTALS«.

|  |  | The Bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

FORM 4.5

STATEMENT OF THE REFERENCE CLIENT

Details about the reference client (confirming the reference):

| Name: |  |
| --- | --- |
| Address: |  |
| Postcode and place: |  |

Details about the Bidder (requesting a reference):

| Name: |  |
| --- | --- |
| Address: |  |
| Postcode and place: |  |

We hereby state that the Bidder, requesting to obtain a reference, efficiently, with respect to quality and amount, supplied us with the following goods: CsI(Tl) CRYSTALS in a minimum amount of 15.000,00 EUR, on the basis of the contract/purchase order made with us as a client or as of       (date of signing of the contract)

If the Jožef Stefan Institute, the Contracting Authority, wishes to verify our statement, they may do so by contacting                 (name and surname) at the telephone number            and/or e-mail address                .

|  |  | Name and surname of the responsible person of the reference client: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative of the reference client) |

The Contracting Authority’s note: The form should be photocopied for the required number of statements.

The Contracting Authority will consider only reference statements that will be fully completed and signed by the reference subscriber for which the provider has carried out the supply of goods, and which will also be listed in the reference list on FORM 4.4

FORM 5

7. SAMPLE CONTRACT

Jožef Stefan institute,

Jamova cesta 39,

1000 Ljubljana,

Slovenia

VAT-ID: SI55560822

represented by the Director, prof. dr. Jadran Lenarčič, henceforth referred to as “the Client”,

and

,(company name)

, (address)

,

VAT-ID:

represented by the director        (henceforth referred to as “the Supplier”)

have agreed on the following

C O N T R A C T

Article 1

SUBJECT OF THE CONTRACT

The contracting parties have established that, in line with the Public Procurement Act, the Client awarded the contract as the most cost-effective Bidder with regard to the realisation of the supply requirement expressed in the public tender published on the Public Procurement Portal of the Republic of Slovenia under the reference number JN004613/2019-W01.

With this contract the Client and the Supplier agree on their mutual rights and obligations, necessary for the smooth operation of purchasing and selling the following goods:

»SUPPLY OF 48 CsI(Tl) CRYSTALS«

specified, in detail, in the Quotation/pro-forma invoice with the ref. number ………..... as of ………….... that is an integral part of this contract.

Article 2

VALUE OF THE CONTRACT

The value of the above equipment is …….………….. . The price does not include the VAT.

Article 3

DELIVERY TERMS

The material which is the subject of this contract will be supplied successively according to the needs of the Client upon a previous request by the Client. The delivery time is 1 month after each request by the Client.

Every delivery will contain 1 set of crystals:

- 1 crystals with the denotation 3129.16.000.1221C

- 1 crystals with the denotation 3129.16.000.1222C

- 1 crystals with the denotation 3129.16.000.1223C

- 1 crystals with the denotation 3129.16.000.1224C

- 4 crystals with the denotation 3129.16.000.1233C

- 4 crystals with the denotation 3129.16.000.1234C

The Supplier shall provide transportation to the Client’s address. The Supplier shall notify the Client of the intended delivery by e-mail, in writing or by telephone, at least 3 working days prior to the delivery.

The Client shall sign the handover note – Delivery note.

Article 4

PAYMENT TERMS

The Supplier shall issue the invoices to the Client for every ordered set of Crystals in the following order:

- 30% payment in advance after receipt of the order,

- 70% payment on receipt of Invoice and delivery of goods.

The Client is obliged to pay an invoice for the goods, within 30 days of the correct issuing of the invoice.

The contracting parties agree that, in the case of a late payment, the Client has to pay the default interest.

Article 5

ACCEPTANCE

The acceptance shall be performed on basis of Delivery note, signed by the authorized representatives of both contracting parties, upon the proper delivery of adequate quality and quantity of goods.

The Supplier will submit to the Client the following documentation:

- Invoice

- Delivery note (with an exact list of delivered parts, data about the gross and net weight)

- test of the crystal light output uniformity.

The documentation must be in Slovene or English.

Article 6

SUPPLIER GUARANTEES

The Supplier guarantees to the Client that the material meets all the required mechanical and technical characteristics.

Article 7

ANTI-CORRUPTION CLAUSE

If it is found that, during the execution of the public tendering, on the basis of which this contract has been made, or during the execution of this contract, anyone acting in the name of – or on the account of – the Supplier, has promised, offered or given any undue advantage to the Client (the Contracting Authority), or those employees that had a decisive influence on the choice of the Supplier, in order:

- to win this public contract,

- to conclude this contract under more favourable conditions,

- to omit due diligence in the supervision of the contract implementation,

- to carry out any other act or omission causing damage to the Client or allowing the Client or its employees to obtain an undue advantage,

this contract will be void.

In the case of an alleged existence of the conditions from the first paragraph of this article or from a notification of the Commission for the Prevention of Corruption, or any other responsible body, relating to their alleged existence, the Client shall initiate the proceedings for invalidity of the contract from the first paragraph of this article, or any other measures, in line with the regulations of the Republic of Slovenia.

Article 8

EARLY TERMINATION OF THE CONTRACT

The Client may withdraw from the contract without obligation towards the Supplier, if the Supplier:

- does not comply with all the requirements of the Client,

- increases the prices during the validity of the contract,

- does not carry out the subject of the contract with the agreed quality or within the agreed deadlines,

- does not fulfil all of its obligations under the contract,

- in other cases and in the extent specified in this contract

and informs him with a written notice by registered mail.

The Supplier has the right to withdraw from this contract in the event of the violation of the terms of the contract by the Contracting Authority. In this case, the contract will expire when the Contracting Authority receives a written notice of withdrawal, stating the reason for the assignment by the registered mail.

In the event of withdrawal, the parties shall be obliged to fulfil the obligation so far made as agreed prior to the cancellation.

Article 9

TERMS FOR TERMINATION OF THE CONTRACT

This contract is concluded under the termination terms that will be met if one of the following circumstances is fulfilled:

- if the Contracting Authority is informed that a competent court has established with a final decision that the Suppler or its Subcontractor has infringed applicable obligations in the area of environmental, social and labour law, or

- if the Contracting Authority is informed that the competent state authority established that the Supplier or its Subcontractor has at the time of the contract infringed at least two infringements in relation to:

- payment for work,

- working hours,

- on rest,

- the performance of work on the basis of civil law contracts, despite the existence of elements of an employment relationship or in connection with the employment of illegal workers

and for which an offence has been imposed by a final decision or several final decisions of

the competent authority,

and provided that the acquaintance with the infringement and the expiration of the validity of the contract has remained for at least 6 months or if the Supplier acts with the Subcontractor, even if the Supplier does not replace or replace this Subcontractor due to the established violation with the Subcontractor, in a manner determined in accordance with Article 94 of the PPA-3, and determined these contracts within 30 days from the knowledge of the violation.

If the circumstances and conditions referred to in the preceding paragraph are fulfilled, the contract shall be terminated from the date of conclusion of a new contract on the execution of a public contract for the contract in question. The Contracting Authority shall inform the Supplier of the date of the conclusion of the new contract.

If the Contracting Authority does not initiate a new public procurement procedure within 30 days of becoming aware of the infringement, the contract shall be deemed to be terminated on the 30th day after the acquaintance with the infringement.

Article 10

FINAL PROVISIONS

The contracting parties shall determine all the amendments to this contract, after a previously reached agreement, with the annexes to this contract.

The contracting parties shall resolve any disagreement relating to the realisation of this contract by common consent.

In the case that the contracting parties cannot settle a dispute by common consent, they shall abide by the decision of the competent court in Ljubljana.

This contract comes into force on the day when it is signed by both contracting parties,

The contract is drawn up in four identical copies so that each contracting party receives two copies.

| CLIENT: |  | SUPPLIER |
| --- | --- | --- |
| Jožef Stefan Institute |  |  |
| Director: |  | Director: |
| Prof. Dr. Jadran Lenarčič |  |  |
| Date: |  | Date: |

We herewith declare that the format of this sample contract is acceptable for the Bidder.

|  |  | The Bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |